DRAFT NBS Specification

Troldtekt® Plus panels installed as floating cloud on C60

(Suspended Ceiling System)

K40

135	SUSPENDED CEILING SYSTEM

- Please refer to Architect’s drawings ……………………. for locations

- Structural soffit: ………………………

- Ceiling system manufacturer/supplier: Troldtekt A/S, Sletvej 2A, 8310 Tranbjerg J, Denmark Tel: +45 8747 8100 Fax +45 8747 8111 Email: sales@troldtekt.co.uk

- Product reference: Troldtekt® Plus

- Panel size: 600X600mm, 600X1200mm, special size.

- Thickness: 25+20mm, 35+20mm

- Panel finish: FUTURECEM natural grey / Natural wood / Standard colours (White 101 / Grey 202 / Grey 208 / Black 207 / Clay 210) special colour

- Structure: Extreme fine 0.5mm, Ultrafine 1mm, Fine 1.5mm

- Edge design: K0 - Square edges, K0-U - Square edges with U-trace, K5 - 5mm bevel, K11 – 11mm bevel

- Ceiling type: Fine fibre wood wool panels meeting EN 13168 and EN 13964 standards. The panels must be available as PEFC (PEFC/09-31-030) - and FSC® (FSC® C115450)-certified.

- Grid form: C60 Troldtekt MF channel sections

- Grid exposure: Concealed

- Suspension system: Troldtekt C60 system.

- Primary C60 grid profile centres: Maximum 1200mm

- Hanger centres: Maximum 1000mm

- C60 main runner centres: 600mm

- C-cross connectors at C60 primary grid/ C60 main runner intersections.

- Ceiling module: 600X600mm, 600X1200mm

- Access: All panel units are screw fastened and demountable

- Ceiling suspension depth: ………..(Variable)

- Manufacturer’s Troldtekt suspension components to include C60 Connectors, Adjustable C-suspension hangers, Suspension rods, C-cross connectors and Troldtekt self-tapping screws.

325 INSTALLING ADJUSTABLE SUSPENSION HANGERS

- Installation: Install Troldtekt Adjustable C-suspension hangers vertically and securely to the structural soffit using appropriate fasteners to be sufficiently long to provide adequate fix.

- Spacing: Maximum or as C60 MF Troldtekt grid manufacturer’s requirements.

375 INSTALLING PANEL CEILING SYSTEM

- Installation should be in accordance with manufacturer’s instructions, see www.troldtekt.co.uk  for download.

- Moisture content of boards at time of fixing: Appropriate to end use.

- It is important that the Troldtekt panels are allowed to acclimatize prior to installation. Acclimatization means that the panels must adapt to the temperature and humidity in the room where they are to be installed.

- Troldtekt panels to grid installed in broken bond.

- Cutting: Cut panels neatly and accurately in accordance with manufacturer’s instructions.

- Fixing: Screw fasten panels using Troldtekt pre-painted self-tapping screws securely and firmly to C60 grid members.

- Screws are to be positioned carefully, not less than 20/25mm from the panel edges and equally and accurately positioned to one another in accordance with Installation Instructions.

- Provide a flat surface free from bowing and lipping. Set screw heads below surface of boards avoiding overtightening.

- Screws are to be positioned carefully, not less than 20mm from the panel edges and equally and accurately positioned to one another.

- Movement joints: To coincide with any movement joints in the surrounding structure.

- Exposed board edges are to be site painted with Troldtekt Touch-up Paint.

395 INTEGRATED SERVICES

- General: Position services accurately, support adequately. Align and level in relation to the ceiling and suspension system. Do not diminish performance of ceiling system.

- Small fittings: Support with rigid backing boards or other suitable means. Do not damage or distort the ceiling.

- Surface spread of flame rating of additional supporting material: Not less than ceiling material.

- Services outlets:

- Supported by ceiling system: Provide additional hangers.

- Independently supported: Provide flanges to support or trim ceiling system.